Title: **Two Switched Split Duplex Receptacles, Duplex HR** Hands On: 4

Course: Electrical Applications Unit: Electrical Shop CLO: 1, 5, 7

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Grade \_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Objectives**

1. Student shall create an electrical circuit design consisting of a single pole, single throw switch and two split receptacles.
2. Student shall apply the National Electrical Code articles during construction.
3. Student shall relate all Lock-Out and Tag-Out requirements to safety standards.

**Assessment**

Students shall demonstrate a comprehension of the objectives listed above by scoring a minimum of 75% on this Hands On. Grading shall be based on the Electrical Applications Shop Job Rubric.

**Materials**

|  |  |
| --- | --- |
| Student Provided Materials | **Department Provided** |
| NM-B 14/2 with ground cable | 4”x4”x1½” Metal Electrical Boxes |
| NM-B 14/3 with ground cable | NM Sheathed Cable Clamps |
| One single pole single throw switch | Two Split Duplex Receptacle |
| Wire Nuts |  |
| Grounding Straps |  |
| Grounding Wire-nuts (Greenie) |  |
| Electrical Tape |  |

**Instructions**

Design a circuit that shall switch the top half of two duplex receptacles from a single pole, single throw switch. The bottom half of each receptacle shall be energized at all times. Power for the circuit shall enter at the first duplex box. The switch shall be wired out of box one as well. All devices shall be in individual boxes. Use the space on the opposite side of this page to draw the design. Have the instructor review the design before wiring. Below is an example of a blueprint electrical schematic of the circuit.

Top

|  |  |
| --- | --- |
|  | Bottom |

|  |  |
| --- | --- |
| Instructor reviews wiring diagram. After approval, lock-out the station and begin wiring. | Initials \_\_\_\_\_\_\_\_ |
| After completing the wiring but **before** energizing the circuit, have the instructor check all wiring. | Initials \_\_\_\_\_\_\_\_ |
| After wiring check is complete and approved by the instructor, remove lock and test circuit **with** the instructor. | Initials \_\_\_\_\_\_\_\_ |
| Render your wiring diagram in a CAD based computer program. |  |

