|  |  |  |
| --- | --- | --- |
| **Electrical Applications** | Instructor Verified: |  |
| **Hands On Test #1** |  |  |
| **Switching Circuit w/ Two Lights** | Grade: |  |

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Materials:**

|  |  |
| --- | --- |
| **Materials Provided by You** | **Materials Provided by the Dept.** |
| 1. Necessary Tools | 1. 4 x 4 Metal Boxes |
| 2. 14/2 w/Ground NM-B | 2. Romex Connectors |
| 3. Wire Nuts |  |
| 4. Two Luminary Sockets |  |
| 5. Single Pole, Single Throw Switch |  |
| 6. Grounding Strap(s) |  |

**Objective:**

Given the necessary materials, the student will construct an electrical circuit to the specifications listed, as evidenced by scoring a minimum of 75% on this performance test.

**Description of the Circuit:**

Construct a circuit in which power is fed to a single pole switch box that shall control two luminaries, each in their own box. The switch controls both lights. All devices are installed in metal boxes. Use grounding straps where appropriate.


**Construct the circuit.**


|  |  |  |
| --- | --- | --- |
| Description | Pts | Score |
| Circuit wired correctly | 5 |  |
| 6” of free conductor from the front edge of the box | 5 |  |
| Wire nut connections secure. | 5 |  |
| Conductors affixed on device correctly | 5 |  |
| 1/4” cable sheath inside box. | 5 |  |
| All current carrying conductors insulation un-marred | 5 |  |
| Circuit works as described. | 20 |  |

**Instructor’s Notes:**

**Part 1 (+50 points):**

Using a straight edge, draw the circuit described above. Five points will be deducted for each error.





Hands On Test # 1