Title: **GFCI and Switch Circuit** Job: 27

Course: Electrical Applications Unit: Electrical Shop CLO: 1, 5, 7

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Grade \_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Objectives**

1. Student shall create an electrical circuit design consisting of ground fault circuit interrupter, a duplex and a luminaire.
2. Student shall apply the National Electrical Code articles during construction.
3. Student shall relate all Lock-Out and Tag-Out requirements to safety standards.

**Assessment**

Students shall demonstrate a comprehension of the objectives listed above by scoring a minimum of 75% on this Job. Grading shall be based on the Electrical Applications Shop Job Rubric.

**Materials**

|  |  |
| --- | --- |
| Student Provided Materials | **Department Provided** |
| NM or MC Cable | 4”x4”x1½” Metal Electrical Boxes |
| GCFI Outlet | Cable Clamps |
| Lamp Holder |  |
| Switch |  |
| Wire Nuts |  |
| Grounding Straps |  |
| Grounding Wire-nuts (Greenie) |  |
| Electrical Tape |  |

**Instructions**

Design a circuit that shall power a ground fault circuit interrupter (GCFI), a duplex and a luminaire. Power for the circuit shall enter at the GCFI box. The GFCI shall provide ground fault *protected* power to the duplex receptacle and the luminaire. Use the space on the opposite side of this page to draw the design. Have the instructor review the design before wiring. Below is an example of a blueprint electrical schematic of the circuit.



|  |  |
| --- | --- |
| Instructor reviews wiring diagram. After approval, lock-out the station and begin wiring. | Initials \_\_\_\_\_\_\_\_ |
| After completing the wiring but **before** energizing the circuit, have the instructor check all wiring. | Initials \_\_\_\_\_\_\_\_ |
| After wiring check is complete and approved by the instructor, remove lock and test circuit **with** the instructor. | Initials \_\_\_\_\_\_\_\_ |
| Render your wiring diagram in a CAD based computer program. |  |

