Title: **Stop/Start/HOA of a Three-Phase Motor Circuit** Hands On: Final

Course: Introduction to Automation Unit: Introduction of PLC CLO: 2, 4

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Station \_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Objectives**

1. Student shall demonstrate their knowledge of a stop/start motor control circuit.
2. Student shall apply their knowledge of hand-off-auto circuits to a motor control circuit.
3. Student shall construct this circuit in a three-phase motor control scenario.

**Assessment**

Students shall demonstrate a comprehension of the objectives listed above by scoring a minimum of 75% on this Hands On. Grading shall be based on the Introduction to PLC rubric.

**Instructions**

Design a stop/start motor control circuit using two momentary pushbuttons for both the “hand” (manual motor control) and the “auto” (PLC) panel. Additionally, the “hand” panel shall have an ESTOP and a three-position selector switch. The ESTOP shall be used to de-energized the circuit and prevent the motor from starting in “hand” or “auto”. The three-position hand-off-auto (HOA) selector shall determine which mode the circuit is operating Whenever the HOA switch is in the “hand” position, the circuit will operate using manual motor controls without the use of the PLC. Whenever the HOA switch is in the “auto” position, the circuit will operate through the PLC. There shall be two sets of lights, one set for each panel Each panel shall use a green light to indicate “running”, red light to indicate “stopped” and a yellow light to indicate an overload. The blue light on the PLC panel shall indicate that the circuit is in “auto” control. Both sets of lights shall always indicate the status of the circuit. Additionally, the PLC program shall keep track of run seconds and the number of starts regardless of mode. An additional momentary pushbutton shall be used to reset both the run seconds and the number of starts. and been graded, the motor. IThe PLCs green light shall flash when the motor is running in “hand” mode but be solid when in “auto” mode. be repurposed as a maintenance light. It shall when the motor has goneindicating that routine is required

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Input | Description | Output | Desc | Three-Phase Motor Starters | | |
| I/0 | ESTOP | O/0 | Green | L1 | NO -| |- | T1 |
| I/1 | MS Aux NO Contacts | O/1 | Yellow | L2 | NO -| |- | T2 |
| I/2 | HOA Auto Input | O/2 | Red | L3 | NO -| |- | T3 |
| I/3 | Overload NO Contacts | O/3 | Blue | 13 | NO -| |- | 14 |
| I/4 | PB1, NC | O/4 | MS Coil | Auxiliary Contacts | | |
| I/5 | PB2, NO | O/5 |  | 23 | NO -| |- | 24 |
| I/6 | PB3, NO |  |  | 31 | NC -|/|- | 32 |
| I/7 |  |  |  | Overload | | |
| I/8 |  |  |  | 95 | NC -|/|- | 96 |
| I/9 |  |  |  | 97 | NO -| |- | 98 |

Manual Motor Controls (“Hand”) Circuit

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  |  |
| --- | --- |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

PLC (“Auto”) Program

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Discussed designs \_\_\_\_\_\_\_, Check wiring \_\_\_\_\_\_\_, Test logic without motor \_\_\_\_\_\_\_



